## Facility & Equipment List
PRICE SCHEDULE: ALL OR NONE BY GROUP Prices offered will not include applicable state and local taxes. The City will pay all applicable taxes. For purposes of determining the lowest cost, the City will not take tax into consideration..
Offeror:
Item No. | Location | Equipment Make | Model Number | Serial Number | Annual Price
1 | Arizona Science Center | Trane | CVHS 300 | L15L05832 | 0
|  | Trane | CVHS 300 | L14F02904 | 0
|  | Sherlock | 202, Refrigerant Monitor | N/A | 0
|  | Trane | RTWA1004YFE01C3COWN Rotary screw | U03J02291 | 0
|  |  |  | Arizona Science Center Total: | 0
2 | Phoenix Art Museum | Trane | CVHE045F R123 Centrifugal | L05F02928 | 0
|  | Trane | CVHE450FA2A03UC2275Q7E5N1C | L94M11821 | 0
|  | Trane | Model RMWD1200 AA Refrigerant Monitor | N/A | 0
|  | Trane | RCVHE045FD02A0U75001AB31AA0 | L18E02412 | 0
|  |  |  | Phoenix Art Museum Total: | 0
3 | Phoenix Police Academy | Trane | R-134a RTWA0840 Rotary screw | U05L04551 | 0
|  |  |  | Phoenix Police Academy Total: | 0
4 | Fire Operations Facility | Carrier | 30HXC136R-650BA Rotary screw | 2103Q02739 | 0
|  |  | 30HXC136R--650BA-1 Rotary screw | 2403Q02792 | 0
|  |  |  | Fire Operations Facility Total: | 0
5 | Fire 911 Dispatch Center | Sherlock | Model 202, Refrigerant Monitor | N/A | 0
|  | Trane | CGAM 080F 2H02 | U12J30519 | 0
|  | Trane | CGAM 080F 2H02 | U12J30518 | 0
|  | Trane | CGAM 080F 2H02 | U13A34385 | 0
|  |  |  | Fire 911 Dispatch Center Total: | 0
6 | Phoenix City Hall | Trane | CVHE 1120FA1M03BYZ60921F9X1C Centrifugal | L92F13867 | 0
|  | Trane | CVHE 1120FA1M03BYZ60921F9X1C Centrifugal | L92F13963 | 0
|  | Trane | CVHE 1120FA1M03BYZ60921F9X1C Centrifugal | L92F13874 | 0
|  | Trane | CVHF1300 | L18E02611 | 0
|  | Trane | RMWERP111EO1000BD | N/A | 0
|  | Trane True Sense | RMWEMP 811 E01001ABAE R123+R134A | L08D07085 | 0
|  |  |  | Phoenix City Hall Total: | 0
7 | Adams Street Garage | York | YTG1A3C2-CJJ wiring 035-16287-000 Centrifugal | compressor YTDJ-95 ser. GMJM 270020 | 0
|  | York | YTG1A3C2-CJJ wiring 035-16287-000 Centrifugal | compressor YTDJ-95 ser. GMJM 270019 | 0
|  | Trane True Sense | Refrigerant Monitor M/N 020151790100 | S/N L08LS260 | 0
|  |  |  | Adams Street Garage Total: | 0
8 |  | Trane | RTHA300FCPOLDUC3LF2LFFNNVOGUQ Rotary screw | U92AO7298 | 0
| Police and Public Safety Building | Trane | RTHA300FCPOLDUC3LF2LFFNNVOGUQ Rotary screw | U92AO7299 | 0
|  | Trane | RTHA300FCPOLDUC3LF2LFFNNVOGUQ Rotary screw | U92AO7300 | 0
|  |  |  | Police and Public Safety Building Total: | 0
9 | Police Property | York | YCWZ88RPO/46AB Reciprocating Chiller | YNYM821230 | 0
|  | York | YCWZ88RPO/46AB Reciprocating Chiller | YNYM821175 | 0
|  |  |  | Police Property Total: | 0
10 | Burton Barr Library | York | YMC2-S1396AA | SAYM-181720 | 0
|  | York | YCP FN-165-46-C-S-D Absorption | 11521N1063635 | 0
|  | SenTech Environmental Systems | 134 A Refrigerant Monitor | N/A | 0
|  |  |  | Burton Barr Library Total: | 0
11 | Phoenix Crime Lab | York | YKACADQ3-CJF wiring 035-18646-000 Centrifugal | compressor YDHF-416DD ser. SFRM-234260 | 0
|  | York | YKACADQ3-CJF wiring 035-18646-000 Centrifugal | compressor YDHF-416DD ser. SRFM-234520 | 0
|  | York | YKACADQ3-CJF wiring 035-18646-000 Centrifugal | compressor YDHF-416DD ser. SRFM-234390 | 0
|  | Chillgard | Refrigerant Monitor ARTD811SF80D000000000 | F06-2148581-10 | 0
|  |  |  | Phoenix Crime Lab Total: | 0
12 | 91st Avenue WWTP - Solids Handling Facility | Trane | RTHOUC1F | U18B00188 | 0
|  | Trane | RTHOUC1F | U18B00189 | 0
|  | Trane True Sense | Refrigerant Monitor RMWERP111E0 | N/A | 0
|  |  |  | 91st Avenue WWTP - Solids Handling Facility Total: | 0
13 | 23rd Avenue WWTP - Solids Handling Facility | Trane | RTWD080F2 | RTWD-1 | 0
|  | Trane | RTWD080F2 | RTWD-2 | 0
|  | EDA AS-400 | Refrigerant Monitor | N/A | 0
|  |  |  | 23rd Avenue WWTP - Solids Handling Facility Total: | 0
14 | 23rd Avenue WWTP - Building 31 | Trane | CVHS0300 | CH-1 | 0
|  | Trane | CVHS0300 | CH-2 | 0
|  | SenTech Environmental Systems | Refrigerant Monitor | N/A | 0
|  |  |  | 23rd Avenue WWTP - Building 31 Total: | 0
15 | Deer Valley WTP - Main Administration Building | Trane | CGAM52 | U18A66052 | 0
|  |  |  | Deer Valley WTP - Main Administration Building Total: | 0
16 | Phoenix Convention Center - Regency Garage | Carrier Aqua Force | 30HXCO76R-U671AA-1 (76 ton) | 1115Q22585 | 0
|  | Sherlock | 204 Refrigerant Monitor | 16B-204-01192AV6.61 | 0
|  |  |  | Phoenix Convention Center - Regency Garage Total: | 0

## Labor Hours & Catalog Discount
LABOR RATES AND DISCOUNTS: Discounts offered must be expressed as a single percentage figure for the line items below. Offers containing chain or multiple discounts may be considered non-responsive.
Offeror:
Item No. | Description | Equipment Make | Unit of Measure | Labor Rate or Discount | Notes
1 | Regular Labor Rate |  | Hourly | $__________ | See IFB, Section 3, paragraph 3.11, Hours of Work
2 | Premium Labor Rate |  | Hourly | $__________
3 | Catalog Discount: Trane | Trane |  | %_________ | Enter Published Price List Number and Date of Issuance
4 | Catalog Discount: Sherlock | Sherlock |  | %_________ | Enter Published Price List Number and Date of Issuance
5 | Catalog Discount: Carrier | Carrier |  | %_________ | Enter Published Price List Number and Date of Issuance
6 | Catalog Discount: York | York |  | %_________ | Enter Published Price List Number and Date of Issuance
7 | Catalog Discount: Sentech Environmental Systems | SenTech Environmental Systems |  | %_________ | Enter Published Price List Number and Date of Issuance
8 | Catalog Discount: Chilgard | Chilgard |  | %_________ | Enter Published Price List Number and Date of Issuance
9 | Catalog Discount: Other | Other |  | %_________ | Enter Published Price List Number and Date of Issuance
10 | Catalog Discount: Other | Other |  | %_________ | Enter Published Price List Number and Date of Issuance
11 | Catalog Discount: Other | Other |  | %_________ | Enter Published Price List Number and Date of Issuance
12 | Catalog Discount: Other | Other |  | %_________ | Enter Published Price List Number and Date of Issuance
13 | Catalog Discount: Other | Other |  | %_________ | Enter Published Price List Number and Date of Issuance
OTHER COSTS:
| Description | Markup Percentage
1 | Parts and Materials (not to exceed 30% markup) | ____________%
2 | Equipment Rental (not to exceed 10% markup) | ____________%
3 | Subcontractor (if applicable) (not to exceed 15% markup) | ____________%

## Ancillary Services
ANCILLARY SERVICES
Offeror:
Item No. | Description | Unit of Measure | Unit Price | Notes
1 | Brush clean evaporator tubes | EA | $_________ | Includes new gasket and head removal / replacement on condenser and evaporator tubes
2 | Eddy-current testing | EA | $_________
3 | Chemical cleaning - Condenser Tubes | EA | $_________