## Item List
Item No. | Manufacturer | Product No. | Description | Estimated Annual Quantity | Unit of Measure | Lead Time Calendar Days ARO | Unit Price | Total Annual Price | Total Contract Term Price
1 | Rosemount 1056 | 1056-01-22-34-AN | SOLUTION CHLORINE II ANALYZER (1056) | 10 | EA |  |  | 0 | 0 | Only enter in yellow shaded cells. Do not change calculations or type over pre-entered cells. Items 141-148 allowed for entry of items not already entered but anticipated need by the City.
2 | Rosemount 1056 | 1056-03-24-32-AN | CHLORINE ANALYZER | 10 | EA |  |  | 0 | 0
3 | Rosemount 1056 | 56-03-22-34-HT | SOLUTION CHLORINE II ANALYZER (56) | 10 | EA |  |  | 0 | 0
4 | Rosemount 1056 | 499ACL-01-54-VP | CHLORINE SENSOR (499ACL) | 30 | EA |  |  | 0 | 0
5 | Rosemount 1056 | 389-VP-10-54 | PH SENSOR | 45 | EA |  |  | 0 | 0
6 | Rosemount 1056 | 399-VP-09 | PH/ORP INSERTION/SUBMERSION SENSOR (399VP) | 30 | EA |  |  | 0 | 0
7 | Rosemount 1056 | 3900VP-02-01 | PH/ORP SENSOR (3900VP) | 15 | EA |  |  | 0 | 0
8 | Rosemount 1056 | 23502-08 | MEMBRANE ASSEMBLY WITH O-RING FREE CHLORINE (CODE 01-54) REBUILD KIT | 185 | KT |  |  | 0 | 0
9 | Rosemount 1056 | 23501-08 | MEMBRANE ASSEMBLY WITH O-RING FREE CHLORINE (CODE 01-54) REBUILT KIT | 25 | KT |  |  | 0 | 0
10 | Rosemount 1056 | 23645-07 | SENSOR QUICK CONNECT, CABLE 15 VP CONNECTOR | 30 | EA |  |  | 0 | 0
11 | Rosemount 1056 | 23747-06 | SENSOR QUICK CONNECT 2.5 WITH VP CONNECTOR | 10 | EA |  |  | 0 | 0
12 | Rosemount 1056 | 23747-04 | SENSOR QUICK CONNECT 4 WITH VP CONNECTOR | 15 | EA |  |  | 0 | 0
13 | Rosemount 1056 | 23747-02 | SENSOR QUICK CONNECT 10 WITH VP CONNECTOR | 33 | EA |  |  | 0 | 0
14 | Rosemount 1056 | 23747-15 | SENSOR QUICK CONNECT 15 WITH VP CONNECTOR | 10 | EA |  |  | 0 | 0
15 | Rosemount 1056 | 23747-08 | SENSOR QUICK CONNECT 20 WITH VP CONNECTOR | 10 | EA |  |  | 0 | 0
16 | Rosemount 1056 | 23747-09 | SENSOR QUICK CONNECT 25 WITH VP CONNECTOR | 10 | EA |  |  | 0 | 0
17 | Rosemount 1056 | 23747-10 | SENSOR QUICK CONNECT 30 WITH VP CONNECTOR | 10 | EA |  |  | 0 | 0
18 | Rosemount 1056 | 23747-03 | SENSOR QUICK CONNECT 50 WITH VP CONNECTOR | 10 | EA |  |  | 0 | 0
19 | Rosemount 1056 | 23747-11 | SENSOR QUICK CONNECT 100 WITH VP CONNECTOR | 10 | EA |  |  | 0 | 0
20 | Rosemount 1056 | 24281-00 | SENSOR QUICK CONNECT 15 | 10 | EA |  |  | 0 | 0
21 | Rosemount 1056 | 24281-01 | SENSOR QUICK CONNECT 25 | 10 | EA |  |  | 0 | 0
22 | Rosemount 1056 | 24281-02 | SENSOR QUICK CONNECT 2.5 | 10 | EA |  |  | 0 | 0
23 | Rosemount 1056 | 24281-03 | SENSOR QUICK CONNECT 50 | 10 | EA |  |  | 0 | 0
24 | Rosemount 1056 | 24281-04 | SENSOR QUICK CONNECT 100 | 10 | EA |  |  | 0 | 0
25 | Rosemount 1056 | 24281-05 | SENSOR QUICK CONNECT 4 | 10 | EA |  |  | 0 | 0
26 | Rosemount 1056 | 24281-06 | SENSOR QUICK CONNECT 10 | 10 | EA |  |  | 0 | 0
27 | Rosemount 1056 | 24281-07 | SENSOR QUICK CONNECT 20 | 10 | EA |  |  | 0 | 0
28 | Rosemount 1056 | 24281-08 | SENSOR QUICK CONNECT 30 | 10 | EA |  |  | 0 | 0
29 | Rosemount 1056 | 9210356 | AMPEROMETRIC SENSOR FILL #4 SOLUTION, 125ML (CODE-01) | 37 | EA |  |  | 0 | 0
30 | Rosemount 1056 | FCL-01-220 | CHLORINE SYSTEM, ROSEMOUNT, W/O CONTINUOUS PH CORRECTION | 10 | EA |  |  | 0 | 0
31 | Rosemount 1056 | 5402AH1E54SPVDAC1M1 | RADAR LEVEL HART4-20MA PWRSUP20-24VDC | 10 | EA |  |  | 0 | 0
32 | Rosemount 1056 | 5402AH1E5NANANA | HIGH FREQ RADAR LEVEL TRANS 5402AH | 10 | EA |  |  | 0 | 0
33 | Rosemount 1056 | 3491L1P61 | 3490 SERIES CONTROL UNIT CODE 3491 | 10 | EA |  |  | 0 | 0
34 | Rosemount 1056 | FCL-02-221 | CHLORINE SYSTEM, ROSEMOUNT, WITH CONTINUOUS PH CORRECTION | 10 | EA |  |  | 0 | 0
35 | De Nora 1870E | 1870E | DE NORA SERIES 1870E RESIDUAL ANALYZER - COMPLETE UNIT | 3 | EA |  |  | 0 | 0
36 | De Nora 1870E | A-1030 | TOP BODY ASSEMBLY, CABINET MOUNTED | 1 | EA |  |  | 0 | 0
37 | De Nora 1870E | A-232 | TOP BODY ASSEMBLY, PANEL MOUNTED | 1 | EA |  |  | 0 | 0
38 | De Nora 1870E | U-441 | BOTTOM BODY | 1 | EA |  |  | 0 | 0
39 | De Nora 1870E | A-1088 | MOTOR ASSEMBLY - 120 VAC 60 HZ | 1 | EA |  |  | 0 | 0
40 | De Nora 1870E | A-1089 | MOTOR ASSEMBLY - 240 VAC 50 HZ | 1 | EA |  |  | 0 | 0
41 | De Nora 1870E | 16639 (120 VAC) | STRIKER & SET SCREW ASSEMBLY - 120 VAC 60 HZ | 1 | EA |  |  | 0 | 0
42 | De Nora 1870E | 16639 (240 VAC) | STRIKER & SET SCREW ASSEMBLY - 240 VAC 50 HZ | 1 | EA |  |  | 0 | 0
43 | De Nora 1870E | A-226 | PROBE ASSEMBLY | 1 | EA |  |  | 0 | 0
44 | De Nora 1870E | T-263 | CELL | 1 | EA |  |  | 0 | 0
45 | De Nora 1870E | U-445 | OVERFLOW TUBE | 1 | EA |  |  | 0 | 0
46 | De Nora 1870E | T-267 | STRAINER SCREEN | 1 | EA |  |  | 0 | 0
47 | De Nora 1870E | U-472 | FLUSH PLUG | 1 | EA |  |  | 0 | 0
48 | De Nora 1870E | T-266 | FITTING | 1 | EA |  |  | 0 | 0
49 | De Nora 1870E | A-228 | FLOW TUBE ASSEMBLY | 1 | EA |  |  | 0 | 0
50 | De Nora 1870E | U-488 | TUBING | 1 | EA |  |  | 0 | 0
51 | De Nora 1870E | R-371 | CLEANING BALLS | 1 | PK |  |  | 0 | 0
52 | De Nora 1870E | BM-709 | STARWHEEL ASSEMBLY | 1 | EA |  |  | 0 | 0
53 | De Nora 1870E | OB-11-011 | O-RING | 2 | EA |  |  | 0 | 0
54 | De Nora 1870E | OB-11-128 | O-RING | 3 | EA |  |  | 0 | 0
55 | De Nora 1870E | OB-11-013 | O-RING | 2 | EA |  |  | 0 | 0
56 | De Nora 1870E | G-130 | GASKET | 2 | EA |  |  | 0 | 0
57 | De Nora 1870E | N-125 | 1/4-20 X 2-3/4 INCH LG RD HD SCREW | 4 | EA |  |  | 0 | 0
58 | De Nora 1870E | N-126 | 10-24 X 1 INCH LG FILL HD SCREW | 4 | EA |  |  | 0 | 0
59 | De Nora 1870E | N-127 | 6-32 X 1/4 INCH LG TR HD SCREW | 2 | EA |  |  | 0 | 0
60 | De Nora 1870E | N-169 | 8-32 X 3/8 INCH LG RD HD SCREW | 4 | EA |  |  | 0 | 0
61 | De Nora 1870E | N-170 | 10-32 X 1/1 2 INCH LG SKT SET SCREW | 1 | EA |  |  | 0 | 0
62 | De Nora 1870E | A-1092 | CELL WIRE HARNESS | 1 | EA |  |  | 0 | 0
63 | De Nora 1870E | U-470 | ADAPTOR | 1 | EA |  |  | 0 | 0
64 | De Nora 1870E | N-138 | 10-24 X 1/2 INCH LG FILL HD SCREW | 4 | EA |  |  | 0 | 0
65 | De Nora 1870E | U-1594 | SEAL | 1 | EA |  |  | 0 | 0
66 | De Nora 1870E | OB-11-113 | O-RING | 2 | EA |  |  | 0 | 0
67 | De Nora 1870E | 23321 | ADAPTOR, 1/8 INCH NPT | 1 | EA |  |  | 0 | 0
68 | De Nora 1870E | 22659 | FITTING, 1/8 NPT X 1/4 IN OD, POLY PRO | 1 | EA |  |  | 0 | 0
69 | De Nora 1870E | U-461 | TUBE | 1 | EA |  |  | 0 | 0
70 | De Nora 1870E | U-836 | TUBE | 1 | EA |  |  | 0 | 0
71 | De Nora 1870E | OB-11-332 | O-RING | 1 | EA |  |  | 0 | 0
72 | De Nora 1870E | F-100-1 | 3/8 INCH TUBING CONNECTOR | 1 | EA |  |  | 0 | 0
73 | De Nora 1870E | U-459 | FEEDER BODY | 1 | EA |  |  | 0 | 0
74 | De Nora 1870E | U-833 | CELL PLUG | 1 | EA |  |  | 0 | 0
75 | De Nora 1870E | 28059 | PREVENTIVE MAINTENANCE KIT | 1 | KT |  |  | 0 | 0
76 | De Nora 1870E | BM-3112 | DIFFUSER ASSEMBLY CO2 ANALYZER | 1 | EA |  |  | 0 | 0
77 | De Nora 1870E | U-1423 | SLEEVE | 1 | EA |  |  | 0 | 0
78 | De Nora 1870E | OA-11-112 | O-RING | 2 | EA |  |  | 0 | 0
79 | De Nora 1870E | BM-5297 | ANALYZER BODY ASSEMBLY - 120 VAC (P/L 210.7001) | 1 | EA |  |  | 0 | 0
80 | De Nora 1870E | BM-5678 | ANALYZER BODY ASSEMBLY - 240 VAC (P/L 210.7001) | 1 | EA |  |  | 0 | 0
81 | De Nora 1870E | N-124 | 1/4-20 X 1-3/4 LG RD HD SCREW | 2 | EA |  |  | 0 | 0
82 | De Nora 1870E | U-1128 | DRAIN ASSEMBLY | 1 | EA |  |  | 0 | 0
83 | De Nora 1870E | N-174 | SCREW, OLD ENCLOSURE | 4 | EA |  |  | 0 | 0
84 | De Nora 1870E | N-289 | SCREW, NEW ENCLOSURE | 4 | EA |  |  | 0 | 0
85 | De Nora 1870E | 210.7034 | ELECTRONICS MODULE ASSEMBLY (P/L 210.7034) | 1 | EA |  |  | 0 | 0
86 | De Nora 1870E | U-467 | VALVE STEM | 1 | EA |  |  | 0 | 0
87 | De Nora 1870E | N-155 | 1/4-20 X 1-1/4 LG FLAT HD SCREW | 3 | EA |  |  | 0 | 0
88 | De Nora 1870E | U-466 | BOTTLE CAP | 1 | EA |  |  | 0 | 0
89 | De Nora 1870E | U-446 | VALVE BODY | 1 | EA |  |  | 0 | 0
90 | De Nora 1870E | N-290 | 1/4-20 X 1 LG RD HD SCREW | 1 | EA |  |  | 0 | 0
91 | De Nora 1870E | R-811 | CABLE TIE | 1 | EA |  |  | 0 | 0
92 | De Nora 1870E | A-1299 | BOTTLE ASSEMBLY, TOTAL CHLORINE | 1 | EA |  |  | 0 | 0
93 | De Nora 1870E | A-1381 | BOTTLE ASSEMBLY, CHLORINE DIOXIDE | 1 | EA |  |  | 0 | 0
94 | De Nora 1870E | A-1300 | BOTTLE ASSEMBLY, ALL OTHERS | 1 | EA |  |  | 0 | 0
95 | De Nora 1870E | U-1312 | 5/16 O.D. X 10 FT LG TUBING | 1 | EA |  |  | 0 | 0
96 | De Nora 1870E | U-460 | TUBE HOLDER | 2 | EA |  |  | 0 | 0
97 | De Nora 1870E | T-275 | CLIP | 1 | EA |  |  | 0 | 0
98 | De Nora 1870E | A-1297 | PANEL RESIDUAL ANALYZER - ASSEMBLY, TOTAL CHLORINE | 1 | EA |  |  | 0 | 0
99 | De Nora 1870E | A-1382 | PANEL RESIDUAL ANALYZER - ASSEMBLY, CHLORINE DIOXIDE | 1 | EA |  |  | 0 | 0
100 | De Nora 1870E | A-1298 | PANEL RESIDUAL ANALYZER - ASSEMBLY, ALL OTHERS | 1 | EA |  |  | 0 | 0
101 | De Nora 1870E | A-1087 | THERMISTER ASSEMBLY | 1 | EA |  |  | 0 | 0
102 | De Nora 1870E | 28058 | PREVENTIVE MAINTENANCE KIT (210.7001) | 1 | KT |  |  | 0 | 0
103 | De Nora 1870E | R-2743 | CABLE ASSEMBLY, OLD OR NEW ENCLOSURE | 1 | EA |  |  | 0 | 0
104 | De Nora 1870E | R-3933 | LABEL-CHEMICAL, OLD OR NEW ENCLOSURE | 1 | EA |  |  | 0 | 0
105 | De Nora 1870E | R-2732 | KNOB, OLD OR NEW ENCLOSURE | 2 | EA |  |  | 0 | 0
106 | De Nora 1870E | 21639 | POST, NEW ENCLOSURE | 4 | EA |  |  | 0 | 0
107 | De Nora 1870E | T-909 | POST, OLD ENCLOSURE | 4 | EA |  |  | 0 | 0
108 | De Nora 1870E | A-1090 | ALARM POT. CABLE ASSEMBLY, OLD OR NEW ENCLOSURE | 1 | EA |  |  | 0 | 0
109 | De Nora 1870E | BM-4390 | LATCHING RELAY P.C. BOARD, OLD OR NEW ENCLOSURE | 1 | EA |  |  | 0 | 0
110 | De Nora 1870E | R-3533 | CABLE ASSEMBLY, OLD OR NEW ENCLOSURE | 1 | EA |  |  | 0 | 0
111 | De Nora 1870E | R-2738 | CABLE GRIP, OLD OR NEW ENCLOSURE | 3 | EA |  |  | 0 | 0
112 | De Nora 1870E | 21624 | ADAPTOR MOUNTING | 4 | EA |  |  | 0 | 0
113 | De Nora 1870E | R-1400 | CONNECTOR, OLD OR NEW ENCLOSURE | 3 | EA |  |  | 0 | 0
114 | De Nora 1870E | 21671 | NEMA 4x ELECTRONICS ENCLOSURE, NEW ENCLOSURE | 1 | EA |  |  | 0 | 0
115 | De Nora 1870E | KIT# 21700 | NEMA 4x ELECTRONICS ENCLOSURE, OLD ENCLOSURE | 1 | KT |  |  | 0 | 0
116 | De Nora 1870E | A-1213 | PRINTED CIRCUIT BOARD, 0-20 mA, INCLUDES SWITCH ASSEMBLY | 1 | EA |  |  | 0 | 0
117 | De Nora 1870E | A-1212 | PRINTED CIRCUIT BOARD, 4-20 mA, INCLUDES SWITCH ASSEMBLY | 1 | EA |  |  | 0 | 0
118 | De Nora 1870E | A-1214 | PRINTED CIRCUIT BOARD, 0-50 mV, INCLUDES SWITCH ASSEMBLY | 1 | EA |  |  | 0 | 0
119 | De Nora 1870E | A-1209 | ZERO/SPAN POT. CABLE ASSEMBLY, OLD OR NEW ENCLOSURE | 1 | EA |  |  | 0 | 0
120 | De Nora 1870E | 21677 | FACEPLATE, ANALYZER, NEW ENCLOSURE | 1 | EA |  |  | 0 | 0
121 | De Nora 1870E | T-1124 | FACEPLATE, ANALYZER, OLD ENCLOSURE | 1 | EA |  |  | 0 | 0
122 | De Nora 1870E | R-2734 | LCD DISPLAY, OLD OR NEW ENCLOSURE | 1 | EA |  |  | 0 | 0
123 | De Nora 1870E | R-2109 | LENS, RED, OLD OR NEW ENCLOSURE | 2 | EA |  |  | 0 | 0
124 | De Nora 1870E | 21701 | FACEPLATE ASSEMBLY, COMPLETE, NEW ENCLOSURE | 1 | EA |  |  | 0 | 0
125 | De Nora 1870E | BM-6321 | FACEPLATE ASSEMBLY, COMPLETE, OLD ENCLOSURE | 1 | EA |  |  | 0 | 0
126 | De Nora 1870E | A-1112 | CAPACITOR ASSEMBLY, 120V | 1 | EA |  |  | 0 | 0
127 | De Nora 1870E | A-1225 | CAPACITOR ASSEMBLY, 240V | 1 | EA |  |  | 0 | 0
128 | De Nora 1870E | R-736 | LOCKNUT, OLD OR NEW ENCLOSURE | 3 | EA |  |  | 0 | 0
129 | De Nora 1870E | 21625 | STRAP GROUND | 1 | EA |  |  | 0 | 0
130 | De Nora 1870E | 002L008T10 | SCREW | 4 | EA |  |  | 0 | 0
131 | De Nora 1870E | R-3532 | WIRING SCHEMATIC, OLD OR NEW ENCLOSURE | 1 | EA |  |  | 0 | 0
132 | De Nora 1870E | R-5676 | THUMBSCREW | 4 | EA |  |  | 0 | 0
133 | De Nora 1870E | R-5677 | E-RING | 4 | EA |  |  | 0 | 0
134 | De Nora 1870E | R-1401 | TOGGLE SWITCH BOOT, OLD OR NEW ENCLOSURE | 1 | EA |  |  | 0 | 0
135 | De Nora 1870E | 13505 | INSULATOR | 1 | EA |  |  | 0 | 0
136 | Rosemount 1056 |  | ROSEMOUNT 5408 RADAR LEVEL TRANSMITTER | 1 | EA |  |  | 0 | 0
137 |  | 03031-0199-011 | KIT 2- LINE LCD DISPLAY | 1 | EA |  |  | 0 | 0
138 | Rosemount 1056 | 24281-00 | CABLE 15' PH SENSOR ROSEMOUNT | 1 | EA |  |  | 0 | 0
139 |  |  | D0000419-01 PUMP 400F/M1 110VAC 12 RPM | 1 | EA |  |  | 0 | 0
140 | Rosemount 1056 |  | DUAL CHANNEL TRANSMITTER (1056) | 1 | EA |  |  | 0 | 0
141 |  |  |  | 1 | EA |  |  | 0 | 0
142 |  |  |  | 1 | EA |  |  | 0 | 0
143 |  |  |  | 1 | EA |  |  | 0 | 0
144 |  |  |  | 1 | EA |  |  | 0 | 0
145 |  |  |  | 1 | EA |  |  | 0 | 0
146 |  |  |  | 1 | EA |  |  | 0 | 0
147 |  |  |  | 1 | EA |  |  | 0 | 0
148 |  |  |  | 1 | EA |  |  | 0 | 0