## Group A
CITY OF PHOENIX
|  | SECTION 8 - SUBMITTALS | [5 empty] | Procurement Section
|  | PRICE SCHEDULE | [5 empty] | 200 W. Washington Street
| IFB 24-FMD-042 - EVAPORATIVE COOLER MAINTENANCE AND REPAIR | [6 empty] | 7th Floor
Phoenix, AZ 85003
Offeror:
GROUP A: | Fire and Police Department
Item No. | Facility Name | Address | Cooler Make | Model Number | Serial Number | Additional Details | Quantity | Price Per Facility
1 | Fire Training Academy | 2425 W. Lower Buckeye | United Metal | UMP-939S | Unknown | Dual Inlet | 2 |  | 0
|  |  | United Metal | UMP-724D | Unknown | Dual Inlet | 2 |  | 0
|  |  | Master Cool | AD2C71 | Unknown | Single Inlet | 2 |  | 0
[8 empty] | Fire Academy Total: | 0
2 | Fire Administration Building | 150 S. 12th Street | Master Cool | ASA71 | Unknown | Single Inlet | 22 |  | 0
[8 empty] | Fire Administration Building Total: | 0
3 | Fire Support Services | 2625 S. 19th Ave | Phoenix | UID 701 | Unknown | Dual Inlet | 38 |  | 0
|  |  | Phoenix | UID500 | Unknown | Single Inlet | 2 |  | 0
|  |  | ARES | SC-2-GLIF | Unknown | Single Inlet | 1 |  | 0
[8 empty] | Fire Support Services Total: | 0
4 | SO FEMA Warehouse | 2450 S. 22nd Ave | Master Cool | SAD100B | Unknown | Single Inlet | 1 |  | 0
[8 empty] | SO FEMA Warehouse Total: | 0
5 | Fire Station 16 | 1414 E. Mohave St. | United Metal | UMP-951S | Unknown | Dual Inlet | 1 |  | 0
[8 empty] | Fire Station 16 Total: | 0
6 | Fire Station 32 | 7620 S. 42nd Pla | United Metal | UMP-951S | Unknown | Dual Inlet | 1 |  | 0
[8 empty] | Fire Station 32 Total: | 0
7 | Fire Station 50 | 20225 N. 35th Ave | Adobe Air | MS624 | Unknown | Dual Inlet | 1 |  | 0
[8 empty] | Fire Station 50 Total: | 0
8 | Fire Station 52 | 21650 N. Tatum Blvd | United Metal | UMP800 | Unknown | Single Inlet | 2 |  | 0
[8 empty] | Fire Station 52 Total: | 0
9 | Fire Station 54 | 9820 W. Campbell Ave | United Metal | UMP-939S | Unknown | Dual Inlet | 1 |  | 0
[8 empty] | Fire Station 54 Total: | 0
10 | Fire Station 55 | 26700 N. 27th Ave | Aerocool | ID500 | Unknown | Single Inlet | 2 |  | 0
|  |  | Champion | 3000DD | Unknown | Aspsen Pad | 1 |  | 0
[8 empty] | Fire Station 55 Total: | 0
11 | Fire Station 56 | 3210 W. Conotia Pl | United Metal | UMP-839S | Unknown | Single Inlet | 4 |  | 0
[8 empty] | Fire Station 56 Total: | 0
12 | Fire Station 57 | 1660 W. Dobbins Rd | United Metal | UMP-939S | Unknown | Dual Inlet | 2 |  | 0
[8 empty] | Fire Station 57 Total: | 0
13 | Fire Station 58 | 4718 W. Dobbins Rd | United Metal | UMP939S | Unknown | Dual Inlet | 2 |  | 0
[8 empty] | Fire Station 58 Total: | 0
14 | Fire Station 59 | 1111 S. 65th Ave | United Metal | E302600 | Unknown | Single Inlet | 1 |  | 0
|  |  | United Metal | E302160 | Unknown | Single Inlet | 1 |  | 0
[8 empty] | Fire Station 59 Total: | 0
15 | Fire Station 60 | 2405 W. Townley | United Metal | UMP939D | Unknown | Dual Inlet | 2 |  | 0
[8 empty] | Fire Station 60 Total: | 0
16 | Fire Station 61 | 1935 E. Indian School Rd | United Metal | UMP-939S | Unknown | Dual Inlet | 2 |  | 0
[8 empty] | Fire Station 61 Total: | 0
17 | Fire Station 72 | 33027 N. Cave Creek Rd | United Metal | UMP-939S | Unknown | Dual Inlet | 1 |  | 0
[8 empty] | Fire Station 72 Total: | 0
18 | Black Mountain Precinct | 33355 N. Cave Creek Road | GREEKHECK | PVF-H | 11916844 | Single Inlet | 1 |  | 0
| Black Mountain Precinct Equip Mgmt | 33355 N. Cave Creek Road | UMP | CAH-0BM-40 | CAH-50199 | Single Inlet | 1 |  | 0
[8 empty] | Black Mountain Precinct Total: | 0
19 | Cactus Park Precinct | 12220 N. 39th Ave. | CAPTIVE AIR | CD-O A4IF-IH-3 | CD-I AFIF-3 | Single Inlet | 1 |  | 0
| Cactus Precinct - Equip Mgmt | 12220 N. 39th Ave. | Adobe Air | 6,500 cfm | Unknown | Single Inlet | 1 |  | 0
[8 empty] | Cactus Park Precinct Total: | 0
20 | Central City Precinct | 1902 S. 16th Street | Champion | 150W | H17130008 | Dual Inlet | 1 |  | 0
| Central City Precinct Equip Mgmt | 1902 S. 16th Street | Champion | 150W | IJ7130023 | Dual Inlet | 1 |  | 0
|  |  | Champion | 150W | EC7130018 | Dual Inlet | 1 |  | 0
[8 empty] | Central City Precinct Total: | 0
21 | Deer Valley Air Support | 102 E. Deer Valley Road | ADOBE AIR | DM080H | C08000265 | Dual Inlet | 1 |  | 0
|  |  | ADOBE AIR | DM080H | F08000996 | Dual Inlet | 1 |  | 0
|  |  | ADOBE AIR | DM080H | H08001052 | Dual Inlet | 1 |  | 0
|  |  | ADOBE AIR | DM080H | H08001055 | Dual Inlet | 1 |  | 0
|  |  | ADOBE AIR | DM080H | F08000780 | Dual Inlet | 1 |  | 0
|  |  | ADOBE AIR | DM080H | L07000011 | Dual Inlet | 1 |  | 0
[8 empty] | Deer Valley Air Support Total: | 0
22 | Desert Horizon Precinct - Equip Mgmt | 16030 N. 56th Street | IMPCO | WS08 | 20160400039 | Dual Inlet | 1 |  | 0
|  |  | IMPCO | WS08 | 20160400026 | Dual Inlet | 1 |  | 0
|  |  | IMPCO | WS08 | 20160400038 | Dual Inlet | 1 |  | 0
[8 empty] | Desert Horizon Precinct Total: | 0
23 | Estrella Mountain Precinct | 2111 S. 99th Ave | GREEKHECK | IGX-118-H32-DB | 11539600 | Single Inlet | 1 |  | 0
| Estrella Mountain Precinct - Equip Mgmt | 2111 S. 99th Ave | GREEKHECK | IGX-120-H32-DB | 12928716 | Single Inlet | 1 |  | 0
|  |  | UNITED METAL PRODUCTS | N/A | N/A | Dual Inlet | 1 |  | 0
|  |  | UNITED METAL PRODUCTS | N/A | N/A | Dual Inlet | 1 |  | 0
[8 empty] | Estrella Mountain Precinct Total: | 0
24 | Maryvale Precinct - Equip Mgmt | 6180 W. Encanto Blvd. | IMPCO | WS08 | 20150400088 | Dual Inlet | 1 |  | 0
|  |  | IMPCO | WS08 | 20150400087 | Dual Inlet | 1 |  | 0
|  |  | IMPCO | WS08 | 20150400085 | Dual Inlet | 1 |  | 0
[8 empty] | Maryvale Precinct Total: | 0
25 | Mountain View Precinct | 2075 E. Maryland Ave | GREEKHECK | IGX-118-H32-DB | Unknown | Single Inlet | 1 |  | 0
| Mountain View Precinct Maintenance Bldg | 2075 E. Maryland Ave | UMP | CAH-0BM-40 | CAH-51351 | Single Inlet | 1 |  | 0
[8 empty] | Mountain View Precinct Total: | 0
26 | Northern Command and Motorcycle Garage | 302 E. Union Hills Drive | ADOBE AIR | DM080G | L05241606 | Single Inlet | 1 |  | 0
|  |  | ADOBE AIR | DM080G | L05241605 | Single Inlet | 1 |  | 0
|  |  | AEROCOOL | IS500 | 2-999-569 | Single Inlet | 1 |  | 0
[8 empty] | Northern Command Total: | 0
27 | Police Academy | 10001 S. 15th Ave. | CHAMPION | ADA51 | 1121481 | Single Inlet | 1 |  | 0
| Police Academy Shooting Range | 10001 S. 7th Ave. | CHAMPION | ADA51 | 6,500 CFM | Single Inlet | 1 |  | 0
[8 empty] | Police Academy Total: | 0
28 | Police Driving Track | 8645 W. Broadway Road | CHAMPION | ASA51 | CD1260342 | Single Inlet | 1 |  | 0
[8 empty] | Police Driving Track Total: | 0
29 | Police MDT Facility | 425 E. Buckeye Road, Suite 100 | UNITED METAL PRODUCTS | UMP-739D | FA-61956 | Dual Inlet | 1 |  | 0
|  |  | UNITED METAL PRODUCTS | UMP-739D | FA-61955 | Dual Inlet | 1 |  | 0
|  |  | UNITED METAL PRODUCTS | UMP-739D | FA-61958 | Dual Inlet | 1 |  | 0
|  |  | UNITED METAL PRODUCTS | UMP-739D | FA-61957 | Dual Inlet | 1 |  | 0
|  |  | UNITED METAL PRODUCTS | UMP-739D | FA-61959 | Dual Inlet | 1 |  | 0
|  |  | UNITED METAL PRODUCTS | UMP-724D | FA-61954 | Dual Inlet | 1 |  | 0
[8 empty] | Police MDT Total: | 0
30 | Police Property / Communications Building | 100 E. Elwood Street | UMP | UMP-839D-HL | FA-78421 | Single Inlet | 1 |  | 0
[8 empty] | Police Property Total: | 0
31 | South Mountain Precinct | 400 W. Southern Ave. | CHAMPION | 14000SD | EG7030044 | Single Inlet | 1 |  | 0
| South Mountain Precinct - Equip Mgmt | 400 W. Southern Ave. | UMP | UMP-724D | FA-57284 | Single Inlet | 1 |  | 0
|  |  | GREEKHECK | 1GX-120-H32-DB | 13496188 | Single Inlet | 1 |  | 0
[8 empty] | South Mountain Precinct Total: | 0
32 | Southern Command | 3443 S. Central Ave. | CHAMPION | 3000DD | EE1000113 | Aspen Pad | 1 |  | 0
|  |  | IMPCO | WS08 | 20130100040 | Dual Inlet | 1 |  | 0
|  |  | IMPCO | WS08 | 20130100037 | Dual Inlet | 1 |  | 0
|  |  | IMPCO | WS08 | 20130100024 | Dual Inlet | 1 |  | 0
|  |  | UNITED METAL PRODUCTS | UMP-939S HL | FA-78489 | Dual Inlet | 1 |  | 0
[8 empty] | Southern Command Precinct Total: | 0
[6 empty] | Total Coolers | 140 | *GRAND TOTAL | 0
*The Grand Total is the amount that will be used for award evaluation.

## Group B
CITY OF PHOENIX
|  | SECTION 8 - SUBMITTALS | [5 empty] | Procurement Section
|  | PRICE SCHEDULE | [5 empty] | 200 W. Washington Street
| IFB 24-FMD-042 - EVAPORATIVE COOLER MAINTENANCE AND REPAIR | [6 empty] | 7th Floor
Phoenix, AZ 85003
Offeror:
GROUP B: | Public Works and Other Departments
Item No. | Facility Name | Address | Cooler Make | Model Number | Serial Number | Additional Details | Quantity | Price Per Facility
1 | Glenrosa Service Center | 4019 W. Glenrosa Ave | Adobe Air | MD628A | Unknown | Dual Inlet | 3 |  | 0
|  |  | Adobe Air | ADA71 | Unknown | Single Inlet | 1 |  | 0
|  |  | Adobe Air | MC63E | Unknown | Single Inlet | 1 |  | 0
[8 empty] | Glenrosa Service Center Total: | 0
2 | Glenrosa Service Center - East Maintenance Bay | 4020 W. Glenrosa Ave | Champion | ASA51 | Unknown | Single Inlet | 2 |  | 0
[8 empty] | Glenrosa Service Center - East Maintenance Bay Total: | 0
3 | Glenrosa Service Center - Street/Sign Shop | 4035 W. Glenrosa Ave | Champion/Master | AD71 | Unknown | Single Inlet | 1 |  | 0
|  |  | Master Cool | MC63E | Unknown | Single Inlet | 1 |  | 0
|  |  | Master Cool | MC628 | Unknown | Dual Inlet | 1 |  | 0
[8 empty] | Glenrosa Service Center - Street/Sign Shop Total: | 0
4 | Glenrosa Service Center - Building N | 4155 W. Glenrosa Ave | United Metal | UMP-839S | Unknown | Single Inlet | 3 |  | 0
[8 empty] | Glenrosa Service Center - Building N Total: | 0
5 | Okemah Service Center | 3828 E. Anne St | Adobe Air | MD524 | Unknown | Single | 12 |  | 0
[8 empty] | Okemah Service Center Total: | 0
6 | Public Works Equipment Management Complex | 2441 S. 22nd Ave | Adobe Air | MD524 | Unknown | Single Inlet | 15 |  | 0
|  |  | Adobe Air | MD624 | Unknown | Dual Inlet | 30 |  | 0
|  |  | Alpine | 330A (aspen pads) | Unknown | Aspen | 1 |  | 0
[8 empty] | Public Works Equipment Management Complex Total: | 0
7 | Public Works FOD | 2631 S. 22nd Ave | Aerocool | IUP704 | Unknown | Dual Inlet | 4 |  | 0
|  |  | Adobe Air | DM080G | Unknown | Single Inlet | 5 |  | 0
|  |  | Adobe Air | ES213H | Unknown | Aspen Pad | 1 |  | 0
|  |  | Adobe Air | MC63E | Unknown | Single Inlet | 1 |  | 0
|  |  | Adobe Air | DM120H | Unknown | Single Inlet | 1 |  | 0
|  |  | Aerocool | IUP701 | Unknown | Dual Inlet | 2 |  | 0
|  |  | IMPCO | WS08 | Unknown | Single | 2 |  | 0
[8 empty] | Public Works FOD Total: | 0
8 | Salt River Service Center | 3045 S. 22nd Ave | Adobe | MU628 | Unknown | Dual | 4 |  | 0
|  |  | Phoenix | UID701 | Unknown | Dual | 3 |  | 0
|  |  | Phoenix | UID500 | Unknown | Single | 1 |  | 0
[8 empty] | Salt River Service Center Total: | 0
9 | Salt River Service Center - CNG Facility | 3045 S. 22nd Ave | Phoenix Manufacturing | H1425 | Unknown | Aspen Pad | 4 |  | 0
[8 empty] | Salt River Service Center - CNG FacilityTotal: | 0
10 | Salt River Small Engine Shop | 2820 S. 22nd Ave | Master Cool | ADA51 | Unknown | Single Inlet | 3 |  | 0
[8 empty] | Salt River Small Engire Shop Total: | 0
11 | Union Hills Service Center | 100-200 E. Union Hills Dr. | Champion | SAD150B | Unknown | Single | 5 |  | 0
|  |  | Champion | AD150B | Unknown | Dual | 3 |  | 0
|  |  | United Metal | UMP824D | Unknown | Single | 1 |  | 0
|  |  | Adobe Air | MC64 | Unknown | Single | 1 |  | 0
|  |  | Adobe Air | MC64 | Unknown | Single | 2 |  | 0
[8 empty] | Union Hills Service Center Total: | 0
12 | Union Hills Service Center CNG Facility | 100-200 E. Union Hills Dr. | Phoenix Manufacturing | H1425 | Unknown | Aspen Pad | 4 |  | 0
[8 empty] | Union Hills Service Center CNG Total: | 0
13 | City Clerk Complex | 2640 S. 22nd Ave | Adobe Air | MD624 | Unknown | Dual | 12 |  | 0
[8 empty] | City Clerk Complex Total: | 0
14 | Solid Waste 27th Ave Transfer Station | 3060 S. 27th Ave | United Metal | CEL-ODO-42 | Unknown | Single Inlet | 8 |  | 0
[8 empty] | Solid Waste 27th Ave Transfer Station Total: | 0
15 | North Gateway Transfer Station | 30205 N. Black Canyon Hwy | United Metal | D363000 | Unknown | Dual Inlet | 1 |  | 0
|  |  | United Metal | D363000 | Unknown | Dual Inlet | 1 |  | 0
|  |  | Master Cool | CEL-ODO-60 | Unknown | Dual Inlet | 1 |  | 0
[8 empty] | North Gateway Transfer Station Total: | 0
16 | Petroleum Stores | 2249 W. Lower Buckeye Rd | Champion | SAD150 | Unknown | Single Inlet | 1 |  | 0
[8 empty] | Petroleum Stores Total: | 0
17 | Cesar Chavez Maintenance Yard | 7858 S. 35th Ave | Master Cool | ASA71 | Unknown | Single | 3 |  | 0
[8 empty] | Cesar Chavez Maint Yard Total: | 0
18 | NSD Graffatti Warehouse | 3325 W. Flower | Champion | 21,000 CFM | Unknown | Aspen Pad | 5 |  | 0
[8 empty] | NSD Graffatti Warehouse Total: | 0
19 | Pecos Maintenance Yard | 17010 S. 48th St | Champion | SA5150 | Unknown | Single Inlet | 1 |  | 0
[8 empty] | Pecos Maintenance Yard Total: | 0
20 | Rio Salado Maintenance Yard | 641 W. Lower Buckeye | UMP | UMP-724D HL | Unknown | Dual Inlet | 3 |  | 0
[8 empty] | Rio Salado Maint Yard Total: | 0
[6 empty] | Total Coolers | 154 | *GRAND TOTAL | 0
*The Grand Total is the amount that will be used for award evaluation.

## Group C
CITY OF PHOENIX
|  | SECTION 8 - SUBMITTALS |  |  | Procurement Section
| PRICE SCHEDULE |  |  |  | 200 W. Washington Street
| IFB 24-FMD-042 - EVAPORATIVE COOLER MAINTENANCE AND REPAIR |  |  |  | 7th Floor
Phoenix, AZ 85003
Offeror:
GROUP C: | Ancillary Service
Item No. | Description | Unit of Measure | Labor Rate/Markup | Notes
1 | Journeyman Labor: Regular Hourly Rate | HR | $___________ | Mon - Fri, 6am - 5pm, excluding City holidays
2 | Journeyman Labor: After Hours Hourly Rate | HR | $___________ | Mon - Fri, 5:01pm - 5:59am, all day Saturday, Sunday, and City holidays
3 | Outside/Subcontractor |  | ____% | Not to Exceed 10%