## Water Services
IFB 25-0535 Uninterruptible Power Supply and PDU Speciality Equipment Services
Exhibit A. Service Locations
VVWTP |  |  | 23rd Ave WTP |  | RFN
Val Vista Water Treatment Plant |  |  | 6202 N 24th St Bldg 1, Phoenix, Az 85016 |  | Cave Creek Water Service Yard
3200 E McDowell Rd Mesa, AZ 85213 |  |  |  |  | 21642 N 20th Street Phoenix, Az 85024
UHWTP |  |  | DVWTP
Union Hills Water Treatment Plant |  |  | Deer Valley Water Treatment Plant
2001 E Deer Valley Rd Phoenix, AZ 85024 |  |  | 3030 W Dunlap Phoenix, AZ 85051
91st Ave WTP |  |  | Cave Creek Water Reclamation Plant
91st Avenue Wastewater Treatment Plant |  |  | 22841 N. Cave Creek Rd. Phoenix, AZ 85024
5615 South 91st Avenue, Tolleson AZ 85353
Waste Water Treatment Division
24TH ST
24th Street Water Treatment Plant
6202 N 24th St Bldg 1, Phoenix, Az 85016
Item No. | Manufacturer | Model/Serial # | Size kVA | Address | Estimated Preventive Maintenance Frequency Per Year | Battery Information
1 | Powerware | FE4.3KVA / FE4.3K04310 | 4.3 | VVWTP Building #10 | 2
2 | APC Symeetra | SYMSTRF-PD / FD0338000658 | 4 | VVWTP Building #1 | 2
3 | Eaton | 9130 | 3 | VVWTP Building #1 | 2
4 | Eaton | 9355-15 / BE132JBA01 | 15 | VVWTP Building #23 | 2
5 | Best Ferrups | FE4 / FE4-3KO7430 | 3 | VVWTP Building #11 | 2
6 | Eaton | 9170+660C / BF525T0002 | 18 | VVWTP Building #5 | 2
7 | Eaton | 9170+660C / BF506T003 | 18 | VVWTP Building #6 | 2
8 | Powerware | 9125 | 3 | VVWTP Building #1 | 2
9 | Eaton | 9130 | 3 | VVWTP Building #6 | 2
10 | Eaton | 9130 | 3 | VVWTP Building #1 | 2
11 | Eaton | 9120 | 3 | VVWTP Building #11 | 2
12 | Eaton | 9170+660C | 18 | VVWTP Building #11 | 2
13 | Powerware | PW9120 2000 | 2 | DVWTP Finished Water Cabinet | 2
14 | Eaton | 9130 | 1 | DVWTP Main Elec Room | 2
15 | Eaton | 9130 | 1 | DVWTP Main Elec Room | 2
16 | Sola | SDJ850 | 10AMP | DVWTP Chlor Dioxide Control Panels | 2
17 | Sola | SDJ850 | 10AMP | DVWTP Chlor Dioxide Control Panels | 2
18 | Eaton | 9130 | 1 | DVWTP Field Lab Room | 2
19 | Eaton | 9130L1000T-XL | 1 | DVWTP Finished Water | 2
20 | Eaton | 9170T+660C | 18 | DVWTP Chem Bldg 1st Floor | 2
21 | Eaton | 9170 | 18 | DVWTP Solids 2nd Floor | 2
22 | Eaton | 5PX 2200 | 1.95 | DVWTP Solids 2nd Floor | 2
23 | Eaton | 9355 | 30 | DVWTP Raw Water Room | 2 | 96 Batteries
24 | Eaton | 9130 | 3 | DVWTP PAC Controls | 2
25 | Eaton | 9170+ | 18 | DVWTP Admin 1st Floor | 2
26 | Eaton | 5PX-EBM | 1 | DVWTP Admin 1st Floor | 2
27 | Eaton | 5PX-EBM | 1 | DVWTP Admin 1st Floor | 2
28 | Powerware | 9170+ | 18 | UHWTP Admin Phone Room | 2
29 | Powerware | 9170+ | 18 | UHWTP Lab/Ops Bldg | 2
30 | Best Ferrups | FE7KVA | 7 | UHWTP Chlorine Bldg | 2
31 | Powerware | PW9125 | 5.4 | UHWTP Raw Water Bldg | 2
32 | Powerware | PW9125 | 5.4 | UHWTP Finished Water Bldg | 2
33 | Powerware | PW9170 / C661N9000H034775 | 9 | RFN - Anthem Booster - 4505 W. Opportunity Way, Phoenix, AZ 85086 | 2
34 | Powerware | PW9170 / Q660N3000F0023 | 18 | RFN - Tramonto # 5 (5ED-B1) - 26701 N 19th Ave, Phoenix, AZ 85027 | 2
35 | Powerware | PW9170 / C661N018KH034745 | 18 | RFN - Tramonto # 6 (6B-B1/5ED-R1) - 31601 N 26th Ave, Phoenix, AZ 85027 | 2
36 | Toshiba | 4300 / 150200648 | 30 | RFN - Admin Bldg | 2 | 24 Batteries
37 | Toshiba | 4400 / 160101211 | 30 | RFN – Maintenance Bldg | 2 | 24 Batteries
38 | Eaton | 9130 / GJ232A0154 | 10 | RFS - Hayden Booster - 1790 E. Rio Salado Way, Tempe | 2
39 | Eaton | 9390 / EG506CBC07 | 50 | 24th St – Admin Lower Level | 2
40 | Eaton | 9390 / EG506EBC08 | 50 | 24th St – Admin Lower Level | 2
41 | MGE | EPS-3000 72-160030-00 / 83567-05 | 36 | 24th St – Raw Water Lower Level | 2
42 | Eaton | 9355 / BG514KXX06 | 20 | 24th St – Admin Lower Level | 2
43 | Eaton | 9355 / FB155JBA01 | 10 | 24th St – Raw Water VFD Room | 2
44 | Eaton | 9155-15 / K4151000000 | 15 | 24th St – Server Room | 2
45 | Best Ferrups | FE SERIES / EY392FH013 | 10 | 24th St – Old Paradise Valley | 2
46 | Best Ferrups | FE SERIES / EY392FH013 | 15 | 24th St – MCC Bldg | 2
47 | Xtreme | NXRT 3000 | 3 | 24th St – MCC Bldg | 2
48 | Xtreme | NXRT 3000 | 3 | 24th St – Main Electric Room | 2
49 | Xtreme | NXRT 3000 / NX2213100021 | 3 | 24th St – Solids Facility Polymer | 2
50 | Eaton | 9130 / RA252A0010 | 3 | 24th St – Solids Facilty Sludge | 2
51 | Xtreme | NXRT 3000 / NX2213040008 | 3 | 24th St – Solids Facility Backwash | 2
52 | Eaton | Powerware 9170+ 660C | 18 | 91st Ave - Administration Building No. 45 | 2
53 | Falcon | FN10KRM-2TXB | 10 | 91st Ave - Blower Building 4 Building No. 27 | 2
54 | Falcon | FN10KRM-2TXB | 10 | 91st Ave - Blower Building 4 Building No. 27 | 2
55 | Eaton | Powerware 9170+ 660C | 18 | 91st Ave - Central Operations Building No. 30 | 2
56 | Eaton | Powerware 9355-15 | 15 | 91st Ave - Solids Handling Building No. 55 | 2
57 | Saft Power Systems | SLRd 120 - 12F | 95 Cell | 91st Ave - Unified Plant Main Substation Building No. 118 | 2
58 | Saft Power Systems | SLRF 120-12 | 92 Cell | 91st Ave - Main Switchgear (East) Building No. 46 | 2
59 | Saft Power Systems | SLRF 120-12 | 92 Cell | 91st Ave - Main Switchgear (West) Building No. 54 | 2
60 | ALCAD Standby Batteries | AT10-130-030-240-1101030000 | 96 Cell | 91st Ave - Unified Pump Station Electrical Building No. 121 | 2
61 | Eaton | Powerware 9155-12 | 12 | 91st Ave - Tres Rios Building No. 201 | 2
62 | Eaton | Powerware 9170+ 660C | 18 | 91st Ave - Central Operations Building No. 30 | 2
63 | Eaton | Ferrups FE5.3KVA | 3 | 91st Ave - Blower Building No. 1 Building No. 115 | 2
64 | Eaton | Ferrups FE5.3KVA | 3 | 91st Ave - Blower Building No. 1 Building No. 115 | 2
65 | Powerware | 9125-3000 | 3 | 23rd Ave - Administration Building (#40) Server Room UPS #1 | 2
66 | Powerware | 9125 | 3 | 23rd Ave - Administration Building (#40) Server Room UPS #2 | 2
67 | Eaton | 9130 | 3 | 23rd Ave - Administration Building (#40) Server Room UPS #3 | 2
68 | Eaton | 9130 | 3 | 23rd Ave - Administration Building (#40) Server Room UPS #4 | 2
69 | Eaton | 9125 | 3 | 23rd Ave - Blower 3 Building (#28) Control Room Second Floor | 2
70 | Powerware | PW9130L3000T-XL | 3 | 23rd Ave - Blower 3 Building (#28) Control Room Second Floor | 2
71 | Powerware | 9125-3000 | 3 | 23rd Ave - Building #25 (Cabinet 16) | 2
72 | Powerware | PW9125-3000U | 3 | 23rd Ave - Building #25 (Cabinet 4) | 2
73 | Eaton | 9130 | 1 | 23rd Ave - Building #30 Gound Level Electrical Room | 2
74 | Powerware | PW9125 | 1 | 23rd Ave - Building #63 First Floor | 2
75 | Powerware | PW9125-1250 BLK | 1.25 | 23rd Ave - Building #85 | 2
76 | Powerware | 9170 Plus | 18 | 23rd Ave - Central Operation Building (#40) | 2
77 | Powerware | Ferrups | 1.4 | 23rd Ave - Chlorine Building (#61) Feed Room | 2
78 | Powerware | 9125-3000 | 3 | 23rd Ave - Digester Building (#65) Control Room | 2
79 | Powerware | Ferrups | 3.1 | 23rd Ave - Digester Building (#65) Control Room | 2
80 | Eaton | 5PX 3000 | 3 | 23rd Ave - Filter Building (#75) First Floor (A/C 14) | 2
81 | Eaton | 9130 | 1.4 | 23rd Ave - Filter Building (#75) Second Floor | 2
82 | Powerware | 9125-3000U | 1.4 | 23rd Ave - IPS Building (#9) MCC Control Room B (Cabinet 1) | 2
83 | Best | FE1.4kVA | 1.4 | 23rd Ave - Main Switchgear Building (#20) | 2
84 | Powerware | 9125 | 2 | 23rd Ave - Maintenance Building (#38) Electrical Room | 2
85 | Powerware | 9125 | 2 | 23rd Ave - Maintenance Building (#38) PCTS Room EWS | 2
86 | Best | FE1.4kVA | 18 | 23rd Ave - One Ton Chlorine Building (#58) Storage Room | 2
87 | Powerware | 9125-3000 | 1.4 | 23rd Ave - RAS/WAS Building (#45) | 2
88 | Powerware | PW9125-3000U | 3 | 23rd Ave - RAS/WAS Building (#45) Control Room (AC#13) | 2
89 | Powerware | PW9125-3000U | 3 | 23rd Ave - Solids Handling Facility Building (#63) First Floor Electrical Room (A/C 19) | 2
90 | Powerware | 9125-3000 | 1.4 | 23rd Ave - Solids Handling Facility Building (#63) Second floor (A/C 21) | 2
91 | Powerware | 3000P3HVSE | 3 | 23rd Ave - Solids Handling Facility Building (#63) Second floor (A/C 23) | 2
92 | Eaton | 9130 | 1.4 | 23rd Ave - SubStation 3 (Next to Building #45) | 2
93 | Eaton | 9170+660C | 2025-03-18 | 23rd Ave - Environmental Services Building | 2
94 | Eaton | 9355 | 15 | 5102 E. Ray Rd. Phoenix AZ 85044 Lift Station 40 | 2
95 | Eaton | 9355 | 30 | 17017 S> 48th St. Phoenix AZ 85048 Lift Station 41 | 2
96 | Eaton | 9PX6X | 6 | 3302 W. Pecos Rd. Phoenix AZ 85045 Lift Station 42 | 2
97 | Eaton | 9355 | 15 | 6650 S. 75th Ave Phoenix AZ 85339 Lift Station 43 | 2
98 | Eaton | 9155-8 | 8 | 30101 N. Black Canyon Hwy. Phoenix AZ 85085 Lift Station 66 | 2
99 | Eaton | 9355-10 | 10 | 31700 N. 51st Ave Phoenix AZ 85083 (NW corner of 51st Ave & 303) Lift Station 77 | 2
100 | Eaton | 9155-8 | 8 | 22841 N. Cave Creek Rd. Phoenix, AZ 85024 Building 5 | 2
101 | Eaton | 93E-30/20 | 20 | 22841 N. Cave Creek Rd. Phoenix, AZ 85024 Building 5 | 2
102 | Toshiba | 1600XPi | 8 | 22841 N. Cave Creek Rd. Phoenix, AZ 85024 Building 6 | 2
103 | Toshiba | 1600XPi | 8 | 22841 N. Cave Creek Rd. Phoenix, AZ 85024 Building 6 | 2
104 | Toshiba | 1600XPi | 8 | 22841 N. Cave Creek Rd. Phoenix, AZ 85024 Buildng 12 | 2
105 | Eaton | 9170+66C | 18 | 23rd Ave Wastewater Treatment Plant Building 40
106 | Eaton | 9PXM12SU | 20 | 23rd Ave Wastewater Treatment Plant Building 40 | 2
107 | Eaton | BPM125HW | 6 | 23rd Ave Wastewater Treatment Plant Building 30 | 2
108 | Eaton | 9170+ | 18 | 23rd Ave Wastewater Treatment Plant Building 31 | 2
109 | Ametek | ABCDEF 5202-22 | 4 | 23rd Ave Wastewater Treatment Plant Building 31 | 2
110 | Ametek | ABCDEF 5202-22 | 4 | 23rd Ave Wastewater Treatment Plant Building 31 | 2
111 | Eaton | 5PX3000 RT2U | 3 | 23rd Ave Wastewater Treatment Plant Building 20 | 2
112 | Eaton | 5PX3000 RT2U | 3 | 23rd Ave Wastewater Treatment Plant Building 45 | 2
113 | Eaton | 5PX3000 RT2U | 3 | 23rd Ave Wastewater Treatment Plant Building 65 | 2

## Aviation
IFB 25-0535 Uninterruptible Power Supply and PDU Speciality Equipment Services
Exhibit A. Service Locations
Item No. | Manufacturer | Model/Serial # | Size kVA | Address | Estimated Preventive Maintenance Frequency Per Year
1 | Eaton | 9390-80180 / EL271CCC10 | 80 | T3 - Communications Center | 2
2 | Toshiba | G9000 Series | 100 | Rental Car Center | 2
3 | Eaton | BladeUPS EBM / GE285A1005 | 24 | East Economy Lot – Sky Train Station | 2
4 | Toshiba | 4400X3X150XA | 50 | East Economy Parking Office – 4215 E Buckeye | 2
5 | Eaton Powerware | 9390-100 / ED352CBB07 | 100 | T4- Sky Train Station | 2
6 | Eaton Powerware | 9390-120 / ED463CBB04 | 120 | 44th Street Sky Train Station | 2
7 | Liebert | 385A200A0A00 / 2101200325211A050002 | 200 | Core Data Room | 2
8 | Emerson | FFA12C6NNG6 / M13E9R0049 | 100 | T3 – Sky Train Station | 2
9 | Eaton | 9390-80180 / EL267CCC02 | 80 | T3 - Communications Center | 2

## Convention Center
IFB 25-0535 Uninterruptible Power Supply and PDU Speciality Equipment Services
Exhibit A. Service Locations
Item No. | Manufacturer | Model/Serial # | Size kVA | Address | Estimated Preventive Maintenance Frequency Per Year
1 | Schneider Electric | GVSUPS50KB4D / QD2116180009 | 15 | 150 N 5th St – NB LVL 1 Security Office Rm 4H25 | 4
2 | Schneider Electric | GVSUPS50KB4D / QS2025182054 | 25 | 100 N 3rd St – WB LVL G2 Electric Room 2G207 | 4

## Police
IFB 25-0535 Uninterruptible Power Supply and PDU Speciality Equipment Services
Exhibit A. Service Locations
Item No. | Manufacturer | Model/Serial # | Size kVA | Address | Estimated Preventive Maintenance Frequency Per Year | Battery Information
1 | MGE | Galaxy PW Series | 68 | 620 W Washington St | 4 | 2 Strings 80 batteries
2 | Eaton | 9330-40 | 30 | 621 W. Washington St. | 2 | 3 Strings 120 batteries
3 | MGE | Galaxy PW Series | 46 | 100 E Elwood St. | 4 | 1 String 24 batteries

## ITS
IFB 25-0535 Uninterruptible Power Supply and PDU Speciality Equipment Services
Exhibit A. Service Locations
Item No. | Manufacturer | Model/Serial # | Size kVA | Address | Estimated Preventive Maintenance Frequency Per Year | Battery Information
1 | MGE | 5733 Comet 72 / 91967-00 | 30 | 300 W Washington St. Courts Bldg 3RD Floor | 2 | 2 Strings of 40 batteries each
2 | MGE | 5730 Comet 72 / 227776-00 | 30 | 300 W Washington St. Courts Bldg Basement | 2 | 2 Strings of 40 batteries each
3 | APC | Symmetra 16KEX / CA0410162094 | 16 | 100 N 3rd St. Phoenix Convention Center West Bldg | 2 | 2 Strings of 40 batteries each
4 | Powerware | 9315 / ET4712BA07 | 40 | 251 W Washington St. Sub-Basement | 2 | 1 String of 40 batteries
5 | Eaton | 93PM | 40 | 251 W Washington | 2 | 1 String of 40 batteries
6 | Eaton | PWHR12390W4FR | Battery | 251 W Washington | 2
7 | Powerware | UPS12-300MR | Battery | 251 W Washington | 2
8 | Toshiba | G9000 | 225 | 149 N 4th Ave | 2 | 2 Strings of 40 batteries each
9 | Toshiba | G9000 | 225 | 149 N 4th Ave | 2 | 2 Strings of 40 batteries each
10 | Toshiba | 80T | 480VDC | 149 N 4th Ave | 2
11 | Toshiba | 80T | 480VDC | 149 N 4th Ave | 2
12 | Toshiba | 80T | 480VDC | 149 N 4th Ave | 2
13 | Toshiba | 80T | 480VDC | 149 N 4th Ave | 2
14 | APC | Symmetra PX / PD1321150041 | 40 | 300 W Washington St. | 2 | 2 Strings of 40 batteries each
15 | APC | Symmetra PI11324160038 | 40 | 300 W Washington St. | 2 | 2 Strings of 40 batteries each

## Fire-Critical Units
IFB 25-0535 Uninterruptible Power Supply and PDU Speciality Equipment Services
Exhibit A. Service Locations
Item No. | Manufacturer | Model/Serial # | Size kVA | Address | Estimated Preventive Maintenance Frequency Per Year | Battery Information
1 | Liebert | 38SA100A0A00 | 100 | 150 S 12th Street – Fire Operation Alarm Room Services | 2 | 2 Strings 40 Bat+G6:G26teres per string
2 | Liebert | PPA030C / 314675-1 | 30 | 150 S 12th Street – Fire Operation Alarm Room Services | 2 | PDU No Batteries
3 | Liebert | PPA030C / 627126-001 | 30 | 150 S 12th Street – Fire Operation Alarm Room Services | 2 | PDU No Batteries
4 | Liebert | PPA075C / 314675-1 | 75 | 150 S 12th Street – Fire Operation Alarm Room Services | 2 | PDU No Batteries
5 | Liebert | PPA075C / 823287-001 | 75 | 150 S 12th Street – Fire Operation Alarm Room Services | 2 | PDU No Batteries
6 | Liebert | 38SA2 A0A00 / 21012003252131050001 | 200 | 2425 W Lower Buckeye – EMS Building AHQ II | 2 | 3 Strings, 40 batteries per string
7 | Liebert | PPA075C231A3832/M13C090043 | 75 | 2425 W Lower Buckeye – EMS Building AHQ II | 2 | PDU No Batteries
8 | Liebert | PPA050C241A9831 / M13C090042 | 50 | 2425 W Lower Buckeye – EMS Building AHQ II | 2 | PDU No Batteries
9 | Eaton | Model# 93PM UPS 200 KW CAPACITY 4 UPM200 Serial# ES054UXX02 | 480 | AHQII-2425 W. Lower Buckeye Rd. | 4 | 3 Strings 16 Lithium Batteries per String
10 | Eaton | PDU Serial# 110-5223-1 | 50 | AHQII-2425 W. Lower Buckeye Rd. | 4 | PDU No Batteries
11 | Eaton | PDU Serial# 110-5223-2 | 50 | AHQII-2425 W. Lower Buckeye Rd. | 4 | PDU No Batteries
12 | Eaton | PDU Serial# 110-5223-3 | 50 | AHQII-2425 W. Lower Buckeye Rd. | 4 | PDU No Batteries
13 | Eaton | PDU Serial# 110-5224-1 | 75 | AHQII-2425 W. Lower Buckeye Rd. | 4 | PDU No Batteries
14 | Eaton | PDU 93PM-100-2 Serial: EN33lUXX02 | 100 | AHQI – 150 S. 12th St. | 4 | 1 String 16 Lithium Batteries
15 | Eaton | PDU WPN75DC004 Serial: EN353SXX04 | 75 | AHQI – 150 S. 12th St. | 4 | PDU No Batteries
16 | Eaton | PDU WPN75DC004 Serial:EN353SXX01 | 75 | AHQI – 150 S. 12th St. | 4 | PDU No Batteries
17 | Eaton | PDU WPN75DC004 Serial: EN311SXX06 | 50 | AHQI – 150 S. 12th St. | 4 | PDU No Batteries
18 | Eaton | PDU WPN75DC004 Serial: EN311SXX05 | 50 | AHQI – 150 S. 12th St. | 4 | PDU No Batteries
19 | Eaton | PDU WPN50DC004 Serial: EN352SXX02 | 75 | AHQI – 150 S. 12th St. | 4 | PDU No Batteries
20 | Eaton | WPN75DC004 Serial: EN353SXX02 | 75 | AHQI – 150 S. 12th St. | 4 | PDU No Batteries
21 | Eaton | WPN75DC004 Serial:EN353SXX03 | 75 | AHQI – 150 S. 12th St. | 4 | PDU No Batteries
22 | Eaton | WPN75DC004 Serial: EN352SXX03 | 75 | AHQI – 150 S. 12th St. | 4 | PDU No Batteries